[ May 19, 2026 8:02 AM ] ⁨Elaine Español | NGCP PRD⁩: VISAYAS GRID ALERT STATUS

Update as of 19 May 2026, 8AM

Yellow Alert

3:00PM-9:00PM

Available Capacity - 2,691MW

Peak Demand - 2,594MW

12 plants are on forced outage since May 2026, 1 plant since March 2026, 3 plants since 2025, 2 plants since 2024, 2 plants since 2023, and 1 plant since 2021, while 10 plants are running on derated capacities, for a total of 846.3MW unavailable to the grid.

Factors that contributed to the YELLOW Alert declaration:

1. Unavailability of Visayas' large coal plants TVI 1, TVI 2, and PEDC 3

2. High forecasted system demand

A yellow alert is issued when the operating margin is insufficient to meet the transmission grid’s contingency requirement.

#NGCPAdvisory

#gridalertph

[ May 19, 2026 9:04 PM ] ⁨Elaine Español | NGCP PRD⁩: VISAYAS GRID ALERT STATUS as of 19 May 2026, 9PM

Yellow alert for Visayas grid lifted

As of 8:53PM, yellow alert has been lifted by NGCP for the Visayas grid.

Available Capacity - 2,679MW

Demand - 2,389MW

A yellow alert is issued when the operating margin is insufficient to meet the transmission grid's contingency requirement.

#NGCPAdvisory

#gridalertph

[ May 20, 2026 7:56 AM ] ⁨Elaine Español | NGCP PRD⁩: VISAYAS GRID ALERT STATUS

Update as of 20 May 2026, 8AM

Yellow Alert

5:00PM- 7:00PM

Available Capacity - 2,691MW

Peak Demand - 2,438MW

11 plants are on forced outage since May 2026, 1 plant since March 2026, 3 plants since 2025, 2 plants since 2024, 2 plants since 2023, and 1 plant since 2021, while 13 plants are running on derated capacities, for a total of 852.1MW unavailable to the grid.

Factors that contributed to the YELLOW Alert declaration:

1. Unavailability of Visayas' large coal plants TVI 1, TVI 2, and PEDC 3

2. High forecasted system demand

A yellow alert is issued when the operating margin is insufficient to meet the transmission grid’s contingency requirement.

#NGCPAdvisory

#gridalertph

[ May 20, 2026 2:05 PM ] ⁨Elaine Español | NGCP PRD⁩: VISAYAS GRID ALERT STATUS

Update as of 20 May 2026, 2PM

EXTENDED YELLOW ALERT

Yellow Alert

4:00PM-8:00PM

Available Capacity - 2,692MW

Peak Demand - 2,503MW

9 plants are on forced outage since May 2026, 1 plant since March 2026, 3 plants since 2025, 2 plants since 2024, 2 plants since 2023, and 1 plant since 2021, while 15 plants are running on derated capacities, for a total of 847MW unavailable to the grid.

Factors that contributed to the YELLOW Alert extension:

1. Unavailability of Visayas' large coal plants TVI 1, TVI 2, and PEDC 3

2. Increased forecasted system demand by around 95MW.

A yellow alert is issued when the operating margin is insufficient to meet the transmission grid’s contingency requirement.

#NGCPAdvisory

#gridalertph

[ May 20, 2026 6:31 PM ] ⁨Elaine Español | NGCP PRD⁩: VISAYAS GRID ALERT STATUS

Update as of 20 May 2026, 6:30PM

EXTENDED YELLOW ALERT

Yellow Alert

4:00PM-9:00PM

Available Capacity - 2,674MW

Peak Demand - 2,473MW

9 plants are on forced outage since May 2026, 1 plant since March 2026, 3 plants since 2025, 2 plants since 2024, 2 plants since 2023, and 1 plant since 2021, while 20 plants are running on derated capacities, for a total of 864.8MW unavailable to the grid.

Factors that contributed to the YELLOW Alert extension:

1. Unavailability of Visayas' large coal plants TVI 1, TVI 2, and PEDC 3

2. Increased forecasted system demand by around 65MW.

A yellow alert is issued when the operating margin is insufficient to meet the transmission grid’s contingency requirement.

#NGCPAdvisory

#gridalertph

[ May 20, 2026 9:32 PM ] ⁨Elaine Español | NGCP PRD⁩: VISAYAS GRID ALERT STATUS as of 20 May 2026, 9:30PM

Yellow alert for Visayas grid lifted

As of 9:20PM, yellow alert has been lifted by NGCP for the Visayas grid.

Available Capacity - 2,674MW

Demand - 2,384MW

A yellow alert is issued when the operating margin is insufficient to meet the transmission grid's contingency requirement.

#NGCPAdvisory

#gridalertph